## Sheet1
EXAMPLE: 51V(n,p); Activation; Smith, Meadows, Kanno; 1USAANL; 1984
2. Data Categories
2.1 Observable
Key | Value
type | EXFOR quantity codes
incidentParticle | N
incidentParticleFunction | APRX monoenergetic
incidentParticleEnergy | 2.86 - 4.87 MEV
incidentParticleAngle | APRX zero deg (perpendicular to U and V samples)
incidentParticleResolution | 0.076 - 0.095 MEV
target | 92-U-238; V-0
measuredParticle | FF; G
measuredParticleFunction | N/A - not applicable
reaction | 1((23-V-51(N,P)22-TI-51,,SIG)/(92-U-238(N,F),,SIG)); 2(23-V-51(N,P)22-TI-51,,SIG)
residualNucleus | FF; 22-Ti-51
mtNumber | 103
absolute | no
ratioReference | 92-U-238(N,F)
polarizedBeam | no
observableMethod | FF; ACTIV; GSPEC
history | ENTRY 12898, SUBENT 12898001
analysisMethod | R,ANL-NDM-85,8406
comments | ENTRY 12898, SUBENT 12898001
critique | ENTRY 12898, SUBENT 12898001
status | (APRVD) D.L.SMITH, 84/10/3
referenceFrame | lab
results | ENTRY 12898, SUBENT 12898001; J,ANE,11,623,8412; R,ANL-NDM-85,8406
totalSystematic | (23-V-51(N,P)22-TI-51,,SIG)/(92-U-238(N,F),,SIG): 4.7 - 20.1 PER-CENT
totalStatistical | (23-V-51(N,P)22-TI-51,,SIG)/(92-U-238(N,F),,SIG): 2.7 - 47.9 PER-CENT
2.2 Bibliographic Information
Key | Value
authors | D.L.SMITH, J.W.MEADOWS, I.KANNO
institute | 1USAANL
reference | J,ANE,11,623,8412; R,ANL-NDM-85,8406
relevant references | R,ANL-NDM-85,8406; R,ANL-7989,7308; R,ANL-7932,7206
EXFOR entry # | 12898
Dataset entry # | 12898001
DOI | 10.1016/0306-4549(84)90031-8
related entries | ENTRY 12898, SUBENT 12898001; R,ANL-NDM-85,8406; R,ANL-7989,7308
2.3 Incident Particles
Key | Value
facility | DYNAM
incidentSource | P
incidentReaction | P-LI7
incidentSpectrum | Primary and secondary N from P-LI7; N from P-TA (TA-0 target backing)
maxwellkT | N/A - not applicable
fluxValues | N/A - not applicable
currentValues | N/A - not applicable
beamEnergy | APRX 4 - 10 MeV
beamPower | APRX 100 W MAX
energyCalibrationMethod | EP for P-LI7 and P-B11 N production reaction thresholds; magnetic analysis of EP
pulseWidth | N/A - not applicable
repRate | APRX constant P beam
fluxDeterminationMethod | FISCH (ratio measurement)
associatedParticleDetected | N/A - not applicable
beamStabilityMonitored | yes (MONIT P current)
acceleratorMonitored | yes (MONIT P current)
secondaryParticleMonitored | N/A - not applicable
secondaryParticleGroups | R,ANL-7932,197206
numberTargetAtoms | N/A - not applicable
targetStability | yes; LONGC N FLUX MONIT as a ratio to P current MONIT
fluxMonitored | yes; LONGC FLUX MONIT
beamDiameter | APRX 5 MM
beamUniformityCorrected | N/A - not applicable
beamUniformityCorrection | N/A - not applicable
anisotropyCorrected | yes
anisotropyCorrection | CALC (correction procedure incorporated in 1USAANL data analysis code)
flightPathLength | N/A - not applicable
zeroTimeOffset | N/A - not applicable
gasCellPressure | FISCH (methane at ambient atmospheric pressure); GELI (N/A - not applicable)
gasCellTemperature | FISCH (ambient); GELI (N/A - not applicable)
gasTemperatureCorrected | N/A - not applicable
gasTemperatureCorrection | N/A - not applicable
gasCellEffectsCorrected | N/A - not applicable
gasCellEffectsCorrection | N/A - not applicable
2.4 Background Types
Key | Value
type | ambient (negligible 22-TI-51 G ACTIV induced in V-0 samples and very small 92-U-238 FF yield due to background N)
corrected | FISCH (yes); GELI (no)
correctionMethod | FISCH (EXP); GELI (N/A - not applicable)
energyDependent | yes; increases with increasing EP
backgroundValue | variable, N/A - not available
2.5 Detectors
Key | Value
type | EXFOR detector codes
manufacturer | FISCH (designed and fabricated at 1USAANL); GELI (purchased from AMETEK ORTEC)
use | FISCH (92-U-238 FF); LONGC (N FLUX MONIT); GELI (22-TI-52 GSPEC ACTIV)
daqSystem | FISCH and GELI (PHA - multi-channel pulse-height analyzers)
detectorNumber | GELI (N/A - not available)
detectorVolume | FISCH (N/A - not applicable); GELI (APRX 100 CM**3)
detectorRadius | N/A - not available and/or not applicable
detectorThickness | N/A - not available and/or not applicable
detectorGas | FISCH (methane); GELI (N/A - not applicable)
detectorPressure | FISCH (ambient); GELI (N/A - not applicable)
detectorMaterial | FISCH (depleted U, 92-U-238); GELI (GE-0 and LI-0)
detectorReaction | FISCH (FIS); GELI (measured GSPEC full-energy peak yield)
efficiencyMethod | FISCH (calibrated 92-U-238 deposit); GELI (calibrated G sources)
calibrationSources | FISCH (N/A - not available); GELI (2FR SAC 63-EU-152 standard G source, 1USANIS mixed radionuclide standard G source)
efficiencyValues | N/A - not available
pulseHeightExtrapCorrected | FISCH (yes); GELI (N/A - not applicable)
pulseHeightExtrapCorrection | FISCH (APRX 8 PER-CENT); GELI (N/A - not applicable)
detectorShielding | FISCH (N/A - not applicable) GELI (yes, PB-0)
angularCoverage | FISCH and GELI (variable, N/A - not available)
solidAngle | FISCH and GELI (variable, N/A - not available)
stoppingPowerCorrected | no
stoppingPowerCorrection | N/A - not applicable
forwardBoostCorrected | FISCH (yes); GELI (N/A - not applicable)
forwardBoostCorrection | FISCH (3 - 4 PER-CENT); GELI (N/A - not applicable)
angularDistortionCorrected | no
angularDistortionCorrection | N/A - not applicable
deadTimeCorrected | FISCH and GELI (yes)
deadTimeCorrection | FISCH (variable, N/A - not available)
detectorLiveTime | N/A - not available
discriminatorCorrected | yes
discriminatorCorrection | FISCH (APPRX 8 PER-CENT); GELI (N/A - not applicable)
sumPeaksCorrected | N/A - not applicable
sumPeaksCorrection | N/A - not applicable
gammaAngularDistCorrected | N/A - not applicable
gammaAngularDistCorrection | N/A - not applicable
countingGeomCorrected | yes, incorporated in 1USAANL data analysis code
countingGeomCorrection | N/A (not available)
delayedGammasCorrected | N/A - not applicable
delayedGammasCorrection | N/A - not applicable
falseFissionCorrected | FISCH (negligible); GELI (N/A - not applicable)
falseFissionCorrection | unknown (estimated to be negligible)
sampleRadioactivityCorrected | negligible
pulsePileupCorrection | negligible
electronicNoiseCorrected | FISCH (yes, by setting discriminator threshold level); GELI (N/A - not applicable)
electronicNoiseCorrection | FISCH (APPRX 8 PER-CENT); GELI (N/A - not applicable)
frechEffectCorrected | N/A - not applicable
frechEffectCorrection | N/A - not applicable
hsContentCorrected | N/A - not applicable
hsContentCorrection | N/A - not applicable
manganeseCaptureCorrected | N/A - not applicable
manageseCaptureCorrection | N/A - not applicable
spectrumUnfolded | FISCH (no); GELI (yes)
spectrumUnfolding | FISCH (N/A - not applicable); GELI (subtracted Compton distribution events from full-energy peak for GSPEC)
timeGateOpen | N/A - not applicable
2.6 Samples
Key | Value
sampleMaterial | 92-U-238; V-0
use | 92-U-238 (FISCH); V-0 (activation samples)
incidentEnergy | 2.86 - 4.87 MEV N
sampleConfiguration | 92-U-238 (very thin deposit evaporated onto FE backing inside FISCH); V-0 (activation sample disk mounted back-to-back with FISCH so as to place U and V-0 samples in close proximity to each other near the APRX point N source)
enrichment | 92-U-238 (effectively 100 PER-CENT); V-0 (99.750 PER-CENT 23-V-51)
impuritiesCorrected | 92-U-238 (no); V-0 (yes)
impuritiesCorrection | V-0 (content 99.8 +- 0.2 PER-CENT pure by weight)
sampleType | 92-U-238 (uranium metal evaporated onto 0.025-CM thick FE plate); V-0 (metal disks)
sampleProduction | R,ANL-NDM-85,8406)
sampleThickness | 92-U-238 (unknown, effectively negligible); V-0 (0.33 cm)
sampleMass | 92-U-238 (CALC from known total of 5.012 x 10**18 atoms with 2 PER-CENT uncertainty): V-0 (CALC from 5.92 +- 0.4 G/CM**3 vanadium metal density and sample dimensions, as well as from sample weighing)
sampleRadius | 92-U-238 (2.54 CM); V-0 (2.557 cm)
sampleHeight | N/A - not applicable
sampleWidth | N/A - not applicable
sampleArealDensity | R,ANL-NDM-85,8406
sampleMassDensity | R,ANL-NDM-85,8406
sampleNumberDensity | R,ANL-NDM-85,8406
sampleDensityMethod | R,ANL-NDM-85,8406
particulatesRadius | N/A - not applicable
sampleThickness | 92-U-238 (unknown, effectively negligible): V-0 (0.33 CM)
sampleUniformityCorrected | no
sampleUniformityCorrection | estimated to be negligible
backingMaterial | 92-U-238 (FE); V-0 (N/A - not applicable)
backingThickness | 92-U-238 (0.0254 CM); V-0 (N/A - not applicable)
containmentMaterial | 92-U-238 (FE in FC); V-0 (N/A - not applicable)
containmentThickness | 92-U-238 (0.0254 CM); V-0 (N/A - not applicable)
sampleRoughnessCorrected | negligible
sampleRoughnessCorrection | negligible
numberSamples | 92-U-238 (one); V-0 (many were used during the experiment, but only one fresh sample disk was present for each individual irradiation exposure and it was not re-used in the experiment)
sampleDisplacementCorrected | N/A - not applicable
sampleDisplacementCorrection | N/A - not applicable
samplePosition | 92-U-238 (APRX 4.34-CM distant from APRX point neutron source); V-0 (3.964-CM distant from APRX point neutron source); R,ANL-NDM-85,8406
thermodynamicTemperature | N/A - not applicable
effectiveTemperature | N/A - not applicable
beamOverlapCorrected | N/A - not applicable
beamOverlapCorrection | N/A - not applicable
beamFluctuationCorrected | no
beamFluctuationCorrection | estimated to be negligible
gammaAttenuationCorrected | N/A (not available)
gammaAttentuationCorrection | yes
selfShieldingCorrected | no
selfShieldingCorrection | N/A - not applicable
multipleSampleCorrected | no
multipleSampleCorrection | N/A - not applicable
sampleRadioactivityCorrected | 92-U-238 (N/A - not applicable); V-0 (no, fresh non-irradiated samples used for each irradiation exposure)
sampleRadioactivityCorrection | N/A - not applicable
pulsePileupCorrected | assumed to be negligible
irradiationTime | FISCH and GELI (variable values unknown, CALC correction procedure incorporated in 1USAANL lab data analysis code)
coolingTime | FISCH and GELI (variable values unknown, CALC correction procedure incorporated in 1USAANL data analysis code)
countingTime | FISCH and GELI (variable values unknown, CALC correction procedure incorporated in 1USAANL data analysis code)
2.7 Multiple Scattering, Neutron Leakage and Attenuation
Key | Value
mutipleScatteringCorrected | yes
multipleScatteringCorrection | 6.9 - 11.7 PER-CENT (CALC corrections for measured ACTIV-to-FIS CS ratio values in the energy range of the present experiment were obtained using 1USAANL code, and the correction values are given in a table of R,ANL-NDM-85,8406 )
partsIncluded | FISCH, P-LI target, and V-0 samples
correctionMethod | CALC (Monte Carlo}
codeUsed | 1USAANL code
componentsIncluded | FISCH, P-LI target, and V-0 samples
maxScatters | 3
nuclearData | ENDF/B (version not specified by authors)
2.8 Resolution Function
Key | Value
type | CALC (specific values are unknown as they were determined using a 1USAANL lab code as part of data analysis process and numerical SPEC values were not documented)
equation | N/A - not applicable
parameter values | N/A - not available
codeUsed | 1USAANL code
codeInput | N/A - not available
2.9 Energy or Maxwellian Temperature
Key | Value
energyMethod | APRX mono-energetic N (P-LI7, thin LI layer on TA-0 backing bombarded with APRX mono-energetic P)
energySpread | variable (values given in table in R,ANL/NDM-085,8406)
energySpreadCorrected | yes
energySpreadCorrection | variable (R,ANL/NDM-085,8406)
timeResolution | N/A - not applicable
pathLength | N/A - not applicable
spectrumValues | R,ANL-7938,1972 (month unknown); J,Atomic and Nuclear Data Tables,Vol 15,1975 (month unknown)
maxwellianTemperature | N/A - not applicable
wattParameter | N/A - not applicable
targetEnergy | values given in a table in R,ANL/NDM-085,8406
energyCalibrationMethod | P-LI7 and P-B11 N production reaction thresholds; magnetic analysis of EP
2.10 Reference Data
Key | Value
type | decay half-life, decay branch
reaction | 22-TI-51 decay
value | decay half-life (348 SEC with 0.5 PER-CENT uncertainty); decay G branch (320 KEV, 93.4 + - 0.9 PER-CENT)
reference | B,Table of Isotopes,7th Ed,1978 (page and month unknown)
decayParent | 22-TI-51
particleDetected | G
maxwellValues | N/A - not applicable
wattValues | N/A - not applicable
2.11 Other Corrections
Key | Value
type | reproducibility
correctionMethod | N/A - not available (no specification in documentation)
correctionValue | unknown
reference | unknown
2.12 Correlations to Other Datasets
Key | Value
entry | N/A - not available
correlatingFactor | N/A - not available
correlationShape | N/A - not available
reference | N/A - not available